Praktikum Allgemeine Chemie

Measurement of the 	vapour pressure of one dipole liquid and one non dipole liquid

Stephan Bachmann

Daniel A. Frick

12.12.2005

Corrected Version 14.01.2006

Assistant: SRAN

Extract

Methanol:

ΔVH= 39.8 ± 0.1 kJ mol-1

ΔVS = 117.2 ± 8.1 J kg-1

TB = 65.8 ± 0.2 °C

Hexan:

ΔVH = 32.24 ± 9.6∙10-2 kJ mol-1

ΔVS = 94.0 ± 4.48 J kg-1

TB = 69.6 ± 0.1  °C

The density of methanol	ρ = 0.788 g/cm³

Refraction index of methanol	1.32838 (Temperature T = 20 °C)

1.	Introduction	2

2.	Experimental	4

3.	Results and analysis	5

3.1	Measurement of the vapour pressure und temperature of Methanol	5

3.2	Measurement of the vapour presser und temperature of Hexane	6

3.4 The density of methanol	7

4.	Discussion	8

4.1	Methanol	8

4.2	Hexane	8

5	References	9

6	Appendix	9

6.1	Calculation for methanol	9

6.2	Calculation for hexane	10

6.3	Exercise 1	11

6.4	Exercise 2	11

6.5	Exercise 3	11

# Introduction

Phases and state of aggregation

A phase describes physical an area where different magnitudes constant are, for example: the pressure, the temperature, the concentration, density or the index of refraction. At the bounder of two phases this magnitudes often change erratic. The changeover between to phases is called a phase transformation and there are different terms for it:

| solid → liquid | melting |
| --- | --- |
| solid ← liquid | freezing |
| liquid → gaseous | evaporate |
| liquid ← gaseous | condense |
| solid ↔ gaseous | sublimate |

Table 1: Terms fort he phase transformation

Depending on the conditions (e.g. pressure and temperature) a pure substance can have two different phases side by side in balance with each other or just one phase.
A phase diagram is a plot of pressure versus the temperature. All tree phases meet at the triple point, where all tree phases are in balance with each other. Out of this diagram we can read the boiling, freezing and the sublimation point for each pressure of one specified pure substance.

Vapour Pressure and partial pressure

The partial pressure of a gaseous substance in a mix of a gas phases is defined as the product of the complete pressure and the molar fraction of the substance in the gas:

[1]

This case only counts if there is a pure gas, if the gas has other gases in the phase the complete pressure of the system is the sum of all partial pressure of the substance:

[2]

If there isn’t a interaction between the different phase, the gas phase reacts like an ideal gas and the liquid phase is pure, the partial pressure of both system are almost the same.
Out of observations we know that the vapour pressure is a function of the temperature, as the temperature raises the vapour pressure rises as well. The substance boils when the vapour pressure the same is as the ambient pressure. If the vapour pressure is smaller than the ambient pressure, the liquid doesn’t boil it evaporates. The vapour pressure is dependent of the temperature; the boiling temperature is the temperature where the vapour pressure equals the ambient pressure. This value for an ambient pressure of 1 atm is often found in compounding as the normal boiling point of a substance (e.g. Water 100 ° C).

Equitation of Clausius-Clapeyron

At the changeover from one phase to another phase an amount of energy is exchanged with the environment, for melting or evaporating of a substance this amount of energy has to be added from the environment and contrariwise for the other direction.  If the Volume of the system or at least the pressure of the system isn’t changed, the temperature of the system doesn’t change until all substance is melted or evaporated. The equation of Clausius-Clapeyron shows the coherence between the change of the temperature and the resulting change of pressure:

[3]

… The enthalpy of 1 mol of pure substance with the state φ
 … Is the related volume

… Is the change of volume if the pressure is constant and 1 mol of the substance changes from phase α to phase β.

This correlation is true for every point on the curve of the bounder of the phases. On the p, T diagram dp / dT equals the gradient of the curve in the point (p, T).

At the evaporation of a pure substance (from state l to state g) under constant pressure, the latent heat equals the change of the enthalpy per 1 mol of substance:

[4]

This ΔVV is always positive, e.g. to evaporate a substance you have to add heat. The change of the volume is also positive.

The differential algebraic equation:

[5]

Is very easy to solve under certain conditions:

- At the range of temperature ΔVV is constant

- The molar volume of the substance in the gas phase is a good deal bigger than the molar volume of the substance at the liquid phase.

Out of the ideal gas law and the separation of the variables it follows out of [5]

[6]

After the integration of tow any tow points (p0, T0) and (p, T) on the coexistence curve:

[7]

The coexistence curve which is described by p(T) (the pressure as a function of the temperature) is called the vapour pressure curve. She indicates for each temperature the vapour pressure of a specific liquid. For p0 = 1 atm, T0 = TB = normal boiling temperature.

The determination of the evaporation enthalpy and entropy

The key to determine the evaporation enthalpy ΔVH is the equation [7]. The logarithmic plotting of the vapour pressure versus the reciprocal absolute temperature results the gradient b. With the gradient b the ΔVH can be determined:

[8]

The evaporation entropy ΔVS with the temperature T results as:

[9]

For many not associated liquids (with no interaction between two molecules of one substance, e.g. no hydrogen bridges) the evaporation entropy at normal boiling point is in the range of 85 ± 10 JK-1mol-1 (The rule of Trouton)

# Experimental

The experiment set-up

Figure 1: The illustration (adapted out of {1}) shows the experiment set-up

| Object | Brand |
| --- | --- |
| Thermometer control | TFN 1093, Ebro |
| Thermometer sensor | EB 03, EBRO |
| Balance | Mettler Toledo AG204 Delta Range |
| Vacuum pump | VAC V-503, Büchi |
| Vacuum controller | B-720, Büchi |
| Refractometer | E100, Lauda with ATAGO RX-5000 |

Table 2: Used apparatuses with brands.

Table properties:

| Properties | Hexane | Methanol |
| --- | --- | --- |
| Dipole | No | Yes |
| Molar mass | 86.17 g/mol | 32,04 g/mol |
| Density | 0,659 g/cm³ | 0,7869 g/cm³ |
| Normal vapor temperature | 68,7 °C | 65 °C |
| Vapor pressure | 160 hPa | 12,9 hPa |
| N0 | 1.32838 | Not measured |
| Hazard symbol | F, Xn, N | T, F |
| S & R sentence | R: 11-38-48/20-51/53-62-65-67 S: 9-16-29-33-36/37-61-62 | R: 11-23/24/25-39/23/24/25 S: 7-16-36/37-45 |

Table 3: Table of properties.out of {2}

Description of the experiment

The same experiment is repeated twice, once with a polar liquid (in our case with methanol) and one non-polar liquid (in our case hexane).

First the glass vessel is filled with exact 100 ml of the liquid. And than the condensator is dried (it could be that the humidity of the air has accumulated water, which could disturb the experiment) and is insert into the vessel. The vacuum pump is evacuating the air and the measuring begins when the pressure reach’s the value 100 mbar, the temperature is noted down when the liquid is dropping back fast and repeatedly from the condensator. The pressure is raised by steps of 25 mbar until it is almost the ambient pressure. Than the liquid is thrown away and the Dewar is cleaned with acetone and several time with the following liquid. The same procedure is repeated with the second liquid.

# Results and analysis

## Measurement of the vapour pressure und temperature of Methanol

Measurements:

| P [mbar] | T [°C] | 1/T [K-1] | Ln(p/p0) |
| --- | --- | --- | --- |
| 100 | 20.1 | 0.00341 | -2.31575 |
| 125 | 22.5 | 0.003382 | -2.0926 |
| 150 | 25 | 0.003354 | -1.91028 |
| 175 | 27.8 | 0.003323 | -1.75613 |
| 200 | 30.5 | 0.003293 | -1.6226 |
| 225 | 32.9 | 0.003267 | -1.50482 |
| 250 | 35 | 0.003245 | -1.39946 |
| 275 | 36.5 | 0.003229 | -1.30415 |
| 300 | 38.5 | 0.003209 | -1.21714 |
| 325 | 40.1 | 0.003192 | -1.13709 |
| 350 | 41.7 | 0.003176 | -1.06299 |
| 375 | 43 | 0.003163 | -0.99399 |
| 400 | 44.5 | 0.003148 | -0.92945 |
| 425 | 45.7 | 0.003136 | -0.86883 |
| 450 | 46.9 | 0.003125 | -0.81167 |
| 475 | 48.5 | 0.003109 | -0.7576 |
| 500 | 49.8 | 0.003096 | -0.70631 |
| 525 | 50.8 | 0.003087 | -0.65752 |
| 550 | 51.5 | 0.00308 | -0.611 |
| 575 | 52.5 | 0.003071 | -0.56655 |
| 600 | 53.6 | 0.00306 | -0.52399 |
| 625 | 54.5 | 0.003052 | -0.48317 |
| 650 | 55.5 | 0.003043 | -0.44395 |
| 675 | 56.4 | 0.003034 | -0.40621 |
| 700 | 57.3 | 0.003026 | -0.36984 |
| 725 | 58.1 | 0.003019 | -0.33475 |
| 750 | 59 | 0.003011 | -0.30085 |
| 775 | 59.7 | 0.003004 | -0.26806 |
| 800 | 60.4 | 0.002998 | -0.23631 |
| 825 | 61.2 | 0.002991 | -0.20553 |
| 850 | 62 | 0.002984 | -0.17568 |
| 875 | 62.9 | 0.002976 | -0.14669 |
| 900 | 63.6 | 0.00297 | -0.11852 |
| 925 | 64.4 | 0.002963 | -0.09112 |

Table 4: Table of the measured values of methanol

→ Graphic Methanol A and B

Linear regression of methanol:

Axis intercept a:	 	14.10915 ± 3.1∙10-5

Gradient b:		-4782.284 ± 9.8∙10-3

Vapour enthalpy ∆vH:

∆vH = -b ∙R = 39.8 ± 0.1 kJ mol-1

Calculation of boiling temperature of methanol:

TB = 65.8 ± 0.2 °C

Calculation of molar vapour energy of methanol:

∆vS = 117.2 ± 8.1 J kg-1

## Measurement of the vapour presser und temperature of Hexane

Measurements:

| P [mbar] | T [°C] | 1/T [K-1] | Ln(p/p0) |
| --- | --- | --- | --- |
| 100 | 13.3 | 0.00349101 | -2.31574808 |
| 125 | 16.6 | 0.00345125 | -2.09260453 |
| 150 | 20.1 | 0.00341006 | -1.91028297 |
| 175 | 23.3 | 0.00337325 | -1.75613229 |
| 200 | 26.4 | 0.00333834 | -1.6226009 |
| 225 | 28.9 | 0.00331071 | -1.50481786 |
| 250 | 31.6 | 0.00328138 | -1.39945735 |
| 275 | 33.8 | 0.00325786 | -1.30414717 |
| 300 | 35.9 | 0.00323572 | -1.21713579 |
| 325 | 37.9 | 0.00321492 | -1.13709308 |
| 350 | 39.7 | 0.00319642 | -1.06298511 |
| 375 | 41.4 | 0.00317914 | -0.99399224 |
| 400 | 43.2 | 0.00316106 | -0.92945372 |
| 425 | 44.9 | 0.00314416 | -0.8688291 |
| 450 | 46.4 | 0.0031294 | -0.81167068 |
| 475 | 47.9 | 0.00311478 | -0.75760346 |
| 500 | 49.3 | 0.00310126 | -0.70631017 |
| 525 | 50.6 | 0.0030888 | -0.65752 |
| 550 | 51 | 0.00308499 | -0.61099999 |
| 575 | 53.2 | 0.00306419 | -0.56654822 |
| 600 | 54.5 | 0.00305204 | -0.52398861 |
| 625 | 55.6 | 0.00304183 | -0.48316662 |
| 650 | 56.7 | 0.00303168 | -0.4439459 |
| 675 | 57.9 | 0.00302069 | -0.40620557 |
| 700 | 59 | 0.00301069 | -0.36983793 |
| 725 | 60 | 0.00300165 | -0.33474661 |
| 750 | 61 | 0.00299267 | -0.30084506 |
| 775 | 62.2 | 0.00298196 | -0.26805524 |
| 800 | 63.1 | 0.00297398 | -0.23630654 |
| 825 | 64 | 0.00296604 | -0.20553488 |
| 850 | 64.9 | 0.00295814 | -0.17568192 |
| 875 | 65.8 | 0.00295029 | -0.14669438 |
| 900 | 66.9 | 0.00294074 | -0.1185235 |

Table 5: Table of the measured values of hexane

→ Graphic Hexane A and B

Linear regression of hexane

Axis intercept a:	11.31261 ± 2.6∙10-5

Gradient b:		- 3877.850 ± 8.3∙10-3

Vapour enthalpy ∆vH:

∆vH = -b ∙R = 32.24 ± 9.6∙10-2 kJ mol-1

Calculation of boiling temperature of hexane:

TB = 69.6 ± 0.1 °C

Calculation of molar vapour energy of hexane:

∆vS = 94.0 ± 4.48 J kg-1

  - The refraction index of methanol

The refraction index was measured with the equipment described in the section “The experiment set-up”. The machine returned for methanol and a temperature of 20 °C a value:

1.32838

- 3.4 The density of methanol

Mass of the graduated flask:	23.2125 g

Mass of the flask and the methanol:	42.9138 g

The mass of the methanol:	19.7013 g

Volume of methanol:	25 ml

Density:	0.7881 g/ml

# Discussion

## Methanol

The boiling temperature of Methanol is 65 °C {2} at normal pressure (1 atm). This difference between the value we measured and the value found in {2} is about 1.2 %. Possible errors for this difference are that the pressure made by the vacuum pump wasn’t stable during the measuring, it always vary 1 mbar. The values at the beginning of the measurement (at 100 mbar) aren’t very accurate, maybe the vaporisation temperature weren’t exact, the backflow at the condensator wasn’t continues.

For ∆vH we found the value 37.43 kJ mol-1 (in {3}), our value is about 6 % difference. Possible errors are the same as mention before. This could be that we only take one value with a possible error (gradient b) and multiply by a natural constant. To calculate the boiling temperature, we divide to values with the same systematic errors and there for this value is more accurate, than multiplying an error with a constant.

## Hexane

The boiling Temperature of Hexane is 68.7 °C {2}. We measured the value 69.6 ± 0.1  °C. Possible errors in this experiment are the same as mentioned before, but another additional one could be that the vessel wasn’t cleaned perfect, which means that a relic from the measurement of methanol remained in the vessel.

For ΔVH we found in {3} the value of 31.56 kJ kg-1 is only 2.1% smaller then our value. This result is good for our measurement methodsΔVS.

# References

{1} Verein Schweizer Mathematiker und Physiker, Formel und Tafel: 1997, Page 216

{2} www.wikipedia.de

{3} http://www.hbcpnetbase.com/

# Appendix

## Calculation for methanol

The linear regression:

| Sx | 0.003129237 |
| --- | --- |
| Sy | -0.855741378 |
| Sxx | 9.80757 10-6 |
| Sxy | -0.002751694 |
| Axis intercept a | 14.10915819 |
| Gradient b | -4782.284127 |
| Straggling of a | 1.51147 10-5 |
| Straggling of b | 0.004826356 |

Vapour enthalpy ∆vH:

∆vH = b ∙R = 39.76 ± 8.2∙10-2 kJ mol-1

Calculation of boiling temperature of methanol:

Out of the slope and the condition that ln (p/p0) = 0

b⋅x+a=ln(pp0)=0

It follows:

1Tb=x=−ab

TB = 65.8 ± 0.2 °C

Calculation of molar vapour energy of methanol:

The ∆vS was calculated with the equitation [9].

∆vS =   117.2 ± 8.1 J kg-1

Error calculation

Vapour energy of methanol

Error: b²⋅(0.000015)²+R²⋅(9.8⋅10−3)²= 8.1

Explanation:

0.000015 is the error of the constant R

9.8 ∙ 10-3 the error of the gradient b

Boiling temperature of methanol

Error: a²⋅(9.8⋅10−3)²+b²⋅(3.0834⋅10-5)²= 0.2

3.0834 ∙ 10-5 the error of the axis intercept a

9.8 ∙ 10-3 the error of the gradient b

Molar vapour energy of methanol

Error √[(TB)²∙( 8.2∙10-2)² + (∆vH)² ∙ (0.2)²]

8.2∙10-2 is the error of ∆vH

0.2 is the error of the boiling temperature

## Calculation for hexane

The linear regression:

| Sx | 0.003137912 |
| --- | --- |
| Sy | -0.855741378 |
| Sxx | 9.87 10-6 |
| Sxy | -0.002776396 |
| Axis intercept a | 11.31261261 |
| Gradient b | -3877.850556 |
| Straggling of a | 1.2889E-05 |
| Straggling of b | 0.0041026 |

Vapour enthalpy ∆vH:

∆vH = -b ∙R = 32.24 ± 9.6∙10-2 kJ mol-1

Calculation of boiling temperature of hexane:

Out of the slope and the condition that ln (p/p0) = 0

b⋅x+a=ln(pp0)=0

It follows:

1Tb=x=−ab

TB = 69.6 ± 0.1 °C

Calculation of molar vapour energy of hexane:

The ∆vS was calculated with the equitation [9].

∆vS = 94.0 ± 4.48 J kg-1

Error calculation

Vapour energy of hexane

Error: b²⋅(0.000015)²+R²⋅(0.0083693)²= 9.6 ∙10-2

Explanation:

0.000015 is the error of the constant R

0.0083693 the error of the gradient b

Boiling temperature of hexane

Error: a²⋅(2.6293⋅10-5)²+b²⋅(0.0083693)²= 0.1

2.6293 ∙ 10-5 the error of the axis intercept a

0.0083693 the error of the gradient b

Molar vapour energy of methanol

Error √[(TB)²∙( 9.6∙10-2)² + (∆vH)² ∙ (0.1)²]

9.6∙10-2 is the error of ∆vH

0.1 is the error of the boiling temperature

## Exercise 1

Out of the ideal gas law:

v(g)=RTp=8.314JK−1mol−1⋅1mol⋅298.15K101325Pa=24.47l

And with the mass of one mol water and the density of water at 25 °C it follows:

v(l)=Mρ=18gmol−1⋅1mol0.99704gcm−1=0.01805l

You can see that the Volume of the gas is about 1500 times bigger than the volume of one mol water. The supposition we did was all right.

## Exercise 2

- The pressure up at the Säntis is much smaller than down in Zürich. In the graphs we made in this practices we saw the if the pressure is deeper the boiling point of a substance is smaller as well, that’s why the soup you cook up at the Säntis boils at a lower temperature.

- The boiling point at 2 bar pressure can be read out of the graph and is about 120 °C.

## Exercise 3

First you have to calculate the gradient of the curve.

b=ΔyΔx=−80.0015K=−5334K

Out of this gradient you can calculate ΔH, because you go from liquid to gas the gradient has to be negative:

ΔH=−b⋅R=−5334K⋅8.3145107JK⋅mol=44.344kJmol

44.344 kJ/mol equals the energy per mol you need to vaporize liquid water with a temperature of 100 °C